__________________________________________________________

###### new york

__________________________________________________________

###### national grid1

#### ELECTRIC TRANSMISSION POLE

#### ATTACHMENT

#### PROCESS

Third Party Instructions

Niagara Mohawk Power Corporation, d.b.a. National Grid.  The National Grid companies include: Granite State Electric, Massachusetts Electric Co., Nantucket Electric Co., National Grid USA Service Co. Inc., New England Power Co., Niagara Mohawk Power Corp., Keyspan, and The Narragansett Electric Co.

New York Transmission Pole Attachment Process

- Third Party Instructions -

This set of Third Party Instructions is a supplemental attachment (Attachment 2) to the Transmission Pole Aerial Third Party Attachment Requirements (“Requirements”).  The following contains the series of steps the Licensee must take in effort to achieve an executed Niagara Mohawk Power Corporation Agreement ‘Authorizing Attachments of Communication Cable and Facilities on Certain Niagara Mohawk Power Corporation Electric Transmission Poles’ (“Agreement”) and meet all the requirements in the said agreement relating to franchise approvals, insurance, and surety to the satisfaction of the Licensor. For distribution pole attachments, refer to the National Grid Distribution Pole Aerial Third Party Attachment Requirements. Applicable forms and rates can be obtained from the company's website at: http://www.nationalgridus.com/niagaramohawk/attachments.  If a problem with website access is encountered, please contact the Telecommunications Attachments Group.

- Pole Attachment Agreement

a) 	Prior to submitting a pole attachment application and prior to any attachment to National Grid owned transmission poles, all Applicants must become signatory to the Agreement.  Note: Some electric transmission poles are jointly owned with incumbent telephone companies e.g. Verizon, Frontier Communications, etc.). In such instances, the joint pole owner will also require the applicant to become signatory to and comply with its pole attachment agreement and procedures.

The Applicant shall first become signatory to the Agreement before presenting any Application to National Grid.  Once executed, a copy of the Agreement will be sent to the Licensee by National Grid.  The Licensee shall submit a Certificate of Insurance within thirty (30) days from the date of the executed agreement  and a Pole Attachment (surety) Bond within sixty (60) days from the date of the executed agreement to:

National Grid

Risk Management, B-3

300 Erie Blvd. West,

Syracuse, NY  13202-4201

- Application, Pole Survey, Design and Loading Analysis for Proposed Attachment

a) Once a Pole Attachment Agreement has been executed, the Applicant shall submit a complete Application for Pole Attachment to the Telecommunications Attachment Group “TAG” (EXHIBIT'S 4 & 5) with an Application Fee, as stated in the latest Service Work Rate Summary Sheet (See Section 6 below). Each application shall be limited to no more than 50 poles.  A pole loading analysis will be required for each pole attachment listed on in the Application. Refer to the Requirements.  Note: For applications containing jointly owned poles, the applicant shall submit independently an attachment request to the joint owner (e.g., telephone company).  Payment of the Application Fee is part of the requirement for a complete Application.

b) TAG will review the Application and Application Fee for completeness and notify the Applicant of any deficiencies.  National Grid will assign responsibility for the pole survey, any required pole loading analysis, and design work to either : 1) National Grid Transmission Engineering and Design (and Distribution Design if under-built distribution exists); 2) National Grid’s Transmission Design Contractor; or 3) The Applicant – to hire a National Grid Accepted Transmission Design Contractor (see Attachment 5 of the Requirements).  TAG will advise the Applicant of such work assignments.  Refer to the Requirements for Applicant Design Contractor responsibilities.

c)  For survey, pole loading analysis, and design work retained by National Grid or National Grid’s contractor, TAG will provide the Applicant with a “Proposal for Survey and Estimated Services”, the associated invoice, the National Grid Work Request (WR#) and National Grid contact information.  No further processing of the attachment application will occur until payment is received.

d)  For survey, pole loading analysis, and design work assigned to the Applicant, the Applicant shall refer to and comply with National Grid’s Requirements.

e) The Applicant shall coordinate and schedule the joint pole survey.  Joint surveys shall include both pole owners.  Other attachees (e.g. the local cable provider), shall be notified but their participation is optional. The Applicant shall confirm with the pole owner(s), the existing pole attachees.

f) Pole loading analysis of each pole is required and shall be performed in accordance with National Grid's Third Party Pole Analysis Criteria (see Attachment 4 of the Requirements). In the event National Grid or National Grid’s distribution design contractor performs such analysis, a separate “Proposal for Pole Loading Analysis” and the associated invoice will be issued to the Applicant. The Applicant should then review and approve the proposal form [sign the acceptance box] and return it with the payment along with the detachable portion of the invoice, to TAG.  Pole Loading Analyses performed by the Applicant’s Design Contractor shall be reviewed and accepted by National Grid.  National Grid will invoice the Applicant for its Pole Loading Analysis Review once the report is received from the Applicant’s Engineer. Advance payment shall be received prior to National Grid commencing work on any pole loading analysis or pole loading analysis review.

g) Work performed by National Grid personnel shall be invoiced at the National Grid rate(s) in effect at the time of invoicing.  National Grid service and make-ready rates may be revised once every twelve (12) months.

3.) Make-Ready Work

a) 	Required make-ready work identified from the pre-construction survey and/or pole loading analysis, and its associated design work will be reviewed by National Grid for acceptance.  Upon acceptance of such work National Grid will assign the make-ready work.  Make-ready work may be assigned to (i) National Grid Field Operations, or (ii) a National Grid line contractor, or (iii) the Applicant. If assigned to the Applicant, the Applicant shall utilize an electrical qualified line contractor acceptable to National Grid (see Attachment 6 of the Requirements).  TAG will advise the Applicant of such work assignments.

b) For make-ready work assigned to National Grid or National Grid’s contractor, National Grid will submit a “Proposal for Make-Ready Services” and the associated make-ready work invoice. The Applicant should then review and approve the proposal form [sign the acceptance box] and return it to TAG.  The Applicant should send payment along with the detachable portion of the invoice as noted below in Section 6.  Advance payment shall be received prior to National Grid commencing any required make-ready work.

c) For make-ready work assigned to the Applicant, please refer to the Requirements for additional information.

d) Make-ready work assigned to National Grid or its contractors will be scheduled and performed by National Grid in the order received.   National Grid will endeavor to perform make-ready work in the sequence established by the Applicant.  If the Applicant does not specify a sequence of completion for the make-ready work, such sequence of work completion will be determined by National Grid. Refer to the Requirements for National Grid contractor management and oversight.

e) If no make-ready work is required, or upon completion of the required make-ready work by the assigned party, National Grid will forward a “Notice of Make-Ready Completion” to the Applicant.  If the Applicant’s contractor performs the required make-ready work, the Applicant shall provide a notice of completion to National Grid in accordance with the Requirements.

f) National Grid will forward a License for attachment to the Applicant.  All Licenses shall be signed by both the Applicant and National Grid.

4.) Post Construction Inspection of Third Party Attachments

a) National Grid may elect to perform a post construction inspection of Licensee attachments.  In the event National Grid decides to perform a post construction inspection, TAG will advise the Licensee (Applicant) of National Grid’s decision and the cost thereof.

5.) Contact Information

a) Questions regarding the pole attachment agreement or the pole attachment application and licensing process should be addressed to the Telecommunications Attachments Group (TAG):

National Grid Service Company			National Grid Service Company

Telecommunications Attachments Group   -OR -	Telecommunications Attachments Group

300 Erie Blvd. West, C-1				Email: nmnytele@nationalgrid.com

Syracuse, NY 13202-4201

Email: thirdparty@nationalgrid.com

6.) Payment Submittal Information

Payment Submittal:

An invoice for the Application Fee will be issued by National Grid.  Applicant payment checks are to be sent to: National Grid Service Company, Misc. Accts. Receivables Dept. at the address noted below.

- One hardcopy of the Application and route/strand maps are to be sent to:

National Grid Service Company

Misc. Accts. Receivables Dept.

300 Erie Blvd. West, B-3

Syracuse, NY 13201

- End -